## Лист1
Приложение №1
Наименование | Тип | Кол-во приборов | Кол-во калибровки за год | Цена в тенге без НДС | Сумма в тенге без НДС
9351162 | MANOMETR | 3 | 1
9351170 | MANOMETR | 1 | 1
9605015 | MANOMETER | 1 | 1
12972801 | THERMOMETER 0/120 C 10MM X 100MM | 4 | 1
40200008 | DEPTH GAUGE PRIMAT 0-80MM | 1 | 1
439005134 | MANOMETER + BELLOW SET | 2 | 1
00127-026-000 | MANOMETER | 3 | 1
00127-027-000 | MANOMETER | 2 | 1
00127-028-000 | MANOMETER | 3 | 1
00127-029-000 | STRUT INFLATION TOOL | 5 | 1
00127-058-000 | MANOMETR 0-300 KN | 3 | 1
00127-064-000 | GAUGE FOR BOEING JACK | 8 | 1
00127-100-000 | MANOMETR 0-173,23 BAR/0-150KN | 1 | 1
00127-189-000 | GAUGE FOR BOEING JACK | 8 | 1
00127-265-000 | MANOMETR 590KN (B-767TAIL) | 1 | 1
233.50.100 | MANOMETER DM2010F-VU-60KGS/CM2-1,5-VI | 2 | 1
25.120.30IN/HG | VACUUM GAUGE / MANOMETER | 2 | 1
620-2565 | STRUT INFLATION TOOL | 5 | 1
Alcotest Drager 5510 | ALCOTEST DRAGER | 3 | 2
AVI3000ASG | AIRCRAFT STRUT TOOL | 3 | 1
AVI300ATI | TIRE IFLATOR | 10 | 1
B1-15.3K | BALANCE | 2 | 1
BA2604 | TIRE PRESSURE CHECK | 1 | 1
B-WELLWT-03BASE | THERMOMETER | 50 | 1
DL-150 | ELECTRONIC SCALE | 4 | 1
DTG-XP | MANOMETER | 1 | 1
E8030M1/A | AMPEREMETER 0 - 20А; 400 HZ | 6 | 1
EH-10 | STUD | 1 | 1
EMA84 | MANOMETER | 2 | 1
EN 837-1/0.6 | MANOMETR 0-0.6BAR MODEL 212.20 | 1 | 1
EN 837-1/140 | MANOMETR 0-10 BAR/0-140 PSI | 2 | 1
EN 837-1/16 | MANOMETER 16BAR | 1 | 1
EN 837-1/250 | MANOMETER | 8 | 1
EN 837-1/400BAR | STRUT INFLATION TOOL | 8 | 1
EN 837-1/600 | MANOMETER 600 PSI | 1 | 1
EN 837-1/6000 | MANOMETER 6000 PSI | 1 | 1
EN 837-1/7BAR | MANOMETR | 2 | 1
EN562-1/16 BАR | MANOMETER | 1 | 1
EN562-1/300 BАR | MANOMETER | 1 | 1
EN832-1/3 | MANOMETR | 1 | 1
EN837-0/1 | MANOMETER 12487491 111.10.063 0/1 MPA M12X1,5 NG63MM | 4 | 1
EN837-0/10 | MANOMETER | 18 | 1
EN837-0/150PSI | MANOMETER 140PSI | 3 | 1
EN837-0/1BAR | MANOMETER | 1 | 1
EN837-0/4BAR | MANOMETER | 2 | 1
EN837-0/700BAR | MANOMETER | 1 | 1
EN837-1/10 | MANOMETER | 11 | 1
EN837-1/100 | MANOMETER 0-100BAR | 7 | 1
EN837-1/12 BAR | MANOMETER 12 BAR | 1 | 1
EN837-1/15000PSI | MANOMETER | 3 | 1
EN837-1/16 | MANOMETER | 13 | 1
EN837-1/160 | MANOMETER | 17 | 1
EN837-1/25 | MANOMETER | 29 | 1
EN837-1/250 | MANOMETER | 33 | 1
EN837-1/2500 | MANOMETR | 1 | 1
EN837-1/30PSI | MANOMETR 30 PSI | 2 | 1
EN837-1/4 | MANOMETR | 3 | 1
EN837-1/4000 | MANOMETER | 24 | 1
EN837-1/5000PSI | STRUT INFLATION TOOL | 29 | 1
EN837-1/50BAR | MANOMETR | 5 | 1
EN837-1/6 | MANOMETER | 8 | 1
EN-837-1/6 | MANOMETER | 2 | 1
EN837-1/60 | MANOMETER | 15 | 1
EN837-1/600 | MANOMETER | 3 | 1
EN837-1/6000 | MANOMETER (6000PSI) | 4 | 1
EN837-1/60PSI | MANOMETR 60 PSI | 2 | 1
EVP 500 KG | WEIGHING-MACHINE | 1 | 1
FLUKE 1587 | INSULATION MULTIMETER | 2 | 1
FLUKE 175 | MULTIMETER DIGITAL | 5 | 1
FLUKE 287 | MULTIMETER DIGITAL | 4 | 1
FLUKE 337 | AC/DC CURRENT CLAMP METER | 2 | 1
FLUKE 381 | REMOTE DISPLAY TRUE-RMS CLAMP METER | 1 | 1
FLUKE 63 | INFRARED THERMOMETER | 2 | 1
FLUKE 87 | MULTIMETER DIGITAL | 2 | 1
FLUKE 87 V | MULTIMETER DIGITAL | 4 | 1
FLUKE 971 | TEMPERATURE AND HUMIDITY METER | 27 | 1
G15000Z | PRESSURE GAGE | 1 | 1
GIGROMETER | GIGROMETER PSIHOMETRCHESKIY | 3 | 1
HC-1399 | PRESSURE GAUGE 5000 PSI | 3 | 1
HERCULES 2000 KG | WEIGHING-MACHINE | 1 | 1
HM 50-600 | HOLE-GAUGE | 1 | 1
KD-7000 | ELECTRONIC SCALE | 1 | 1
LEO1-1-30 | LEO1 DIGITAL MANOMETER | 5 | 1
MA0506 A14G 9158 | DRAFT GAUGE | 1 | 1
MEGGER DLRO10 | DIGITAL LOW RESISTANCE TESTER | 1 | 1
MG1-500-A-9V-R | MANOMETER | 1 | 1
MICROMETR 175-200 | MICROMETR 175-200, 0.01MM | 5 | 1
MK0-25 | MICROMETER 0-25 | 2 | 1
MK25-50 | MICROMETER 25-50 | 2 | 1
MK50-75 | MICROMETER 50-75 | 2 | 1
MK7-ATIS-GBC-GH | TIRE INFLATOR | 3 | 1
MVMC-25 | THREAD MICROMETER | 2 | 1
NB2604-D | TIRE PRESSURE GAUGE | 11 | 1
NBCPN-600 | 600 PSI NITORGEN PANEL GAUGE | 1 | 1
NBCPN-6000 | 6000 PSI NITROGEN PANEL GAUGE | 1 | 1
NMT 50-100 MM | CALIPER, 50-100 MM (0,005) | 1 | 1
NTG35004-001 | PRESSURE GAUGE | 1 | 1
NTG5004-001 | GAUGE 5000PSI | 3 | 1
NTG-5004-D | TIRE PRESSURE GAUGE | 7 | 1
PHASEC 3D | EDDY CURRENT FLAW DETECTOR PHASEC 3D | 3 | 1
PHASOR XS | PHASOR XS 16/64PACKAGE + TOP VIEW. PORTABLE ULTRASONIC FLAW DETECTOR WITH PHASED ARRAY. INCLUDING LI-ION BATTERY, CHARGER SUPPLY. | 1 | 1
SHC-2-800-125 | CALIPERS | 1 | 1
SHCC-I-125-0,01 | CALIPER | 5 | 1
SHCC-I-200-0,01 | CALIPER | 2 | 1
SHCC-I-300-0,01 | CALIPER | 1 | 1
SHC-I-120-0,01 | CALIPER | 1 | 1
SHC-I-125-0,05 | CALIPER | 2 | 1
SHC-I-130-0,1 | CALIPER | 1 | 1
SHC-II-300-0.05 | CALIPER | 1 | 1
SHC-III-500-0,05 | CALIPER | 1 | 1
T-5691 | MANOMETR | 4 | 1
TERMODAT-16M3 | SENSOR, TEMPERATURE | 1 | 1
THERMO CHAMBER | OVEN FOR THERMO CHAMBER | 1 | 1
TXAC-2088 | THERMOELECTRIC CONVERTER | 2 | 1
ЭПВ-100 | 1000 кг (d=0.2 кг) | 2 | 1
SW - 20 | 20 кг (d =10 г) | 1 | 1
TONOMETER MEDICAL | Tonometer | 10 | 1
PCE-888 | PORTABLE INFRARED THERMOMETER | 41 | 1
129477 | NUTROMER | 1 | 1
129478 | NUTROMER | 1 | 1
129479 | NUTROMER | 1 | 1
1150-1/2H/P | CALIPER 150MM | 4 | 1
149.999MM | DIAMETER RING GAUGE GRADE A | 1 | 1
906.906 | DIGITAL THREE POINT INTERNAL 100-150 MM | 2 | 1
907.898 | DIGITAL DEPTH GAUGE 0-500 MM | 4 | 1
FLUKE 61 | INFRARED THERMOMETER | 2 | 1
HMT 100-125 | NUTROMETR | 1 | 1
HMT 125-150 | NUTROMETR | 1 | 1
MIT-120 | DIGITAL CALIPS | 4 | 1
NMT 75-88 MM | NUTROMER | 1 | 1
NMT 8-10 MM | NUTROMER | 1 | 1
NMTC 150-250 MM | CALIPER, 150-250 MM, (0,001) | 1 | 1
B440T | CALLIPERS FOR EXTERNAL MEASUREMENTS | 2 | 1
YA328A | ANGLE LOCATOR | 1 | 1
40200008 | DEPTH GAUGE PRIMAT 0-80MM | 1 | 1
PCE-423 | THERMOANEMOMETER WITH TELESCOPIC PROBE | 1 | 1
ИТОГО